## Slide 1
NEED FINDING
CARDIOVASCULAR TEAM
Qingbo Kang
Arthur Kohler
Chantelle Janeiro
Naghmeh Bandari
November, 2017

## Slide 2
AGENDA
Team Members
Observations
Need Identification
Need Screening
Top Five Need Statements

## Slide 3
TEAM MEMBERS
Naghmeh Bandari:
  - PhD. Student of Mechanical engineering, Concordia University (2016-Now)
  - Therapy Development Specialist, CoreValve® TAVI, Medtronic® lnc. (2010-2015)
  - Commerce and Regulatory Affairs Supervisor, Thoratec Corp. (2007-2010)
Chantelle Janeiro:
Arthur Kohler:
Qingbo Kang:

## Slide 4
Observation
5 Hospital Visits
  Two general visits, Glen Hospital, with Dr. Galli
  One Coronary Artery Bypass Grafting (CABG), Glen Hospital, with
    Dr. Lachapelle, Dr. Cecere
  Two Transcatheter Aortic Valve Implantation (TAVI), Glen Hospital
    With Dr. Lachapelle, Dr. Piazza

## Slide 5
Need Identification
Total number of identified needs: 99
Chart: 
| Cardiac OR & CathLab: 47 | Plastic OR: 19 | EM: 11 | MDRD: 8 | Other: 14
Number of Identified Needs | 47 | 19 | 11 | 8 | 14

## Slide 6
Need Screening
99
25
5
Number of Needs

## Slide 7
Need 1:
A way to overcome the lack of wireless charging for medical devices that require an external power source, such as ventricle assist device, in patients with congestive heart failure, in order to improve convenience, maintenance, portability and quality of life.
Disease status:
Heart failure (HF) is a condition that the heart's pumping power is lower than healthy level. Consequently, the heart is not capable of pumping demanded oxygen and nutrients to the body.
At least 26 million patients worldwide
5.7 million people in the US
It is expected that by 2030 more than 8 million people will have this condition, with 46 % increase in prevalence

## Slide 8
Heart failure could be treated by Ventricle Assist Device (VAD), a small implantable device that act to compensate the pumping function of the heart and assist in circulating blood throughout the body.
VADs systems consist pump, system controller, power source, power leads, batteries and battery clips
VADs must always have power, either from batteries or electricity from the wall outlet
A power module or AC adaptor is used when the patient is not active, like when he is watching TV. It must be used when he is sleeping
Batteries should be exchanged when their charge falls below 25% capacity
Fully charged batteries should always be available or carried by backup bag
Existing Treatment and Problem
Need 1

## Slide 9
Need 1
Competitors

## Slide 10
Current Market for cardiac assistive devices
US | Global | 
770 Million | 1.4$ Billion | Market Value (2017)
10.9% | 8.6% | CAGR (2010-2017)
Need 1
Classification and Applicable Regulations for battery chargers for VAD
FDA-CDRH | CE | HEALTH CANADA
Device Classification: 1 Product Code: KRF Regulation Number: CFR 870.3670 | Device Classification: I Regulation: EEC/2017/745 | Device Classification: I Regulation: CMDCAS
Need Criteria:
the proposed need is subjected to the following criteria:
Lightweight, easy to carry
No need to backpack for reserve battery set
Firmware to track flows and battery charge with phone application

## Slide 11
Need 2:
Disease status:

## Slide 12
Existing Treatment and Problem
Need 2

## Slide 13
Need 2
Market and Competitors

## Slide 14
Need 2
Classification and Applicable Regulations
FDA-CDRH | CE | HEALTH CANADA
Device Classification: 1 Product Code: Regulation Number: | Device Classification: I Regulation: EEC/2017/745 | Device Classification: I Regulation: CMDCAS
Need Criteria:

## Slide 15
Need 3:
Disease status:

## Slide 16
Existing Treatment and Problem
Need 3

## Slide 17
Need 3
Market and Competitors

## Slide 18
Need 3
Classification and Applicable Regulations
FDA-CDRH | CE | HEALTH CANADA
Device Classification: 1 Product Code: Regulation Number: | Device Classification: I Regulation: EEC/2017/745 | Device Classification: I Regulation: CMDCAS
Need Criteria:

## Slide 19
Need 4:
Disease status:

## Slide 20
Existing Treatment and Problem
Need 4

## Slide 21
Need 4
Market and Competitors

## Slide 22
Need 4
Classification and Applicable Regulations
FDA-CDRH | CE | HEALTH CANADA
Device Classification: 1 Product Code: Regulation Number: | Device Classification: I Regulation: EEC/2017/745 | Device Classification: I Regulation: CMDCAS
Need Criteria:

## Slide 23
Need 5:
Disease status:

## Slide 24
Existing Treatment and Problem
Need 5

## Slide 25
Need 5
Market and Competitors

## Slide 26
Need 5
Classification and Applicable Regulations
FDA-CDRH | CE | HEALTH CANADA
Device Classification: 1 Product Code: Regulation Number: | Device Classification: I Regulation: EEC/2017/745 | Device Classification: I Regulation: CMDCAS
Need Criteria:

## Slide 27
CARDIOVASCULAR TEAM
Thank You…